## READ ME
* READ ME
Project Title | Greenhouse Grown Mustard Greens in Hydroponic Saline Irrigation Treatments
Project Description | An experiment will be conducted to grow and evaluate the performance of five novel salt tolerant mustard genotypes under hydroponic production in saline nutrient solutions in a greenhouse located in Citra, FL. Six separate hydroponic systems are split into two groups of three on the eastern and western halves of the greenhouse. Five salinity concentrations (10, 20, 30, 40, 50%) will be evaluated along with a fresh water (0%) salt control. Each hydroponic system supports 120 plants, allowing for 20 replicates per salt tolerant cultivar plus one control, with each experimental condition being replicated four times. Plant growth data will be evaluated over time, blocked by cultivar and by treatment condition. Sensor systems will be implemented to monitor weather conditions in the greenhouse, micro-climates of the eastern and western plant canopy groups, and of each nutrient solution reservoir. Calibration data will be maintained for each sensor within the sensor systems.
Date Range | 06/01/2024 - 06/01/2025
Location | University of Florida/IFAS Plant Science Research and Education Unit (PSREU) - Greenhouse 101
Table of Contents | Description | Variables
READ ME | Title, Project Description, Date Range, Location, Table of Contents, Credits, and License information | NA
Plant | Data collection for destructively harvested plant with specific growth and development information | 15
Culitvar | Detailed information regarding the specific plant cultivar | 9
Experiment | Experiment objectives, date range and average weather and nutrient solution information | 25
Germination | Data regarding the environmental conditions of the seed germination phase | 12
IrrigationData | Time series data of the nutrient solution reservoirs | 18
WeatherData | Time series data of environmental conditions within the greenhouse overall | 14
CanopyData | Time series data of the environmental conditions of each of the two plant canopies | 8
WaterTest | Data on water quality received from water testing lab | 67
Greenhouse | Information about the greenhouse where experiment was conducted | 7
WeatherSensor | List of all sensors included in the weather monitoring system | 7
CanopySensor | List of all sensors included in the plant canopy monitoring system | 7
IrrigationSensor | List of all sensors included in the nutrient solution monitoring system | 15
TestLab | Information about the testing lab where water sample was analyzed | 4
Sensor | Description of the sensor inclduing calibratrion, model, and supplier | 8
Manufacturer | Description of the sensor manufacturer | 5
Credits | UF Faculty UF Staff UF Graduate Students UF Undergraduate Students USDA Clemson University
License | MIT License Copyright (c) 2024 JeanPompeo Permission is hereby granted, free of charge, to any person obtaining a copy of this software and associated documentation files (the "Software"), to deal in the Software without restriction, including without limitation the rights to use, copy, modify, merge, publish, distribute, sublicense, and/or sell copies of the Software, and to permit persons to whom the Software is furnished to do so, subject to the following conditions: The above copyright notice and this permission notice shall be included in all copies or substantial portions of the Software. THE SOFTWARE IS PROVIDED "AS IS", WITHOUT WARRANTY OF ANY KIND, EXPRESS OR IMPLIED, INCLUDING BUT NOT LIMITED TO THE WARRANTIES OF MERCHANTABILITY, FITNESS FOR A PARTICULAR PURPOSE AND NONINFRINGEMENT. IN NO EVENT SHALL THE AUTHORS OR COPYRIGHT HOLDERS BE LIABLE FOR ANY CLAIM, DAMAGES OR OTHER LIABILITY, WHETHER IN AN ACTION OF CONTRACT, TORT OR OTHERWISE, ARISING FROM, OUT OF OR IN CONNECTION WITH THE SOFTWARE OR THE USE OR OTHER DEALINGS IN THE SOFTWARE.

## Plant
* PLANT
Plant identifier | Experiment identifier | Cultivar identifier | Date when plant was harvested for measurements | Total age of plant in days | Shoot Fresh Weight | Width of Plant (Widest width from leaf tip tp leaf tip) | Height of Plant (Top of substrate to highest leaf tip) | Total area of plant leaves | Counted number of leaves per plant (Leaves > 0.5cm) | Weight of plant stem without leaves | Shoot Dry Weight | Amount of chlorophyl per leaf area | Rate of CO2 entering, or water vapor exiting through leaf stomata | Ratio of Sodium to Potassium in Leaf Cytosol
number | number | number | date | days | g | cm | cm | cm2 | number | g | g | µmol m−2 | mmol m−2 s−1) | number
ID.Plant | ID.Experiment | ID.Cultivar | Harvest_Date | Plant_Age | SFW | Width | Height | Leaf_Area | Leaf_Number | Stem_Weight | SDW | Chlorophyl | Stomatal_Conductivity | Na/K Ratio

## Cultivar
* CULTIVAR
Cultivar identifier | Plant name | Plant Latin Name | Supplier of seed | Date when seed was purchased | Age of seed in number of years | Rating of salt tolerance (Low - High) | Description of leaf color | Number of days from seed to maturity
number | text | text | text | yyyy-mm-dd | years | text | text | days
ID.Cultivar | Name | Latin_Name | Seed_Source | Purchase_Date | Seed_Age | Salt_Tolerance | Color | Days_to_Maturity

## Experiment
* EXPERIMENT
Experiment identifier | Greenhouse identifier | Objectives of the experiment | Date when seeds were transplanted into the NFT system | Length of experiment in days | Salinity Concentration Treatment | Average Air Temperature | Average Relative Humidity | Average Carbon Dioxide Concentration | Average Photoperiod | Average Daily Light Integral | Average Extended Photosynthetically Active Radiation | Average Dew Point | Average Vapor Pressure Deficit | Average Atmospheric Pressure | Average pH | Average Electrical Conductivity | Average Dissolved Oxygen | Average Oxidation Reduction Potential | Average Nutrient Solution Temperature | Total amount of Water used | Total amount of Nutrient Concentrate used | Total amount of Acid used | Total amount of Base used | Total amount of water lost to Evaporation
number | number | text | yyyy-mm-dd | days | % | °C | % | ppm | hours | mol m-2 d-1 | µmol m-2 s-1 | °C | kPa | kPa | number | mS/cm | ppm | mV | °C | L | mL | mL | mL | mL
ID.Experiment | ID.Greenhouse | Objectives | Transplant_Date | Experiment_Length | Salinity | Avg_Air_Temp | Avg_RH | Avg_CO2 | Avg_PP | Avg_DLI | Avg_ePAR | Avg_DP | Avg_VPD | Avg_Atm | Avg_pH | Avg_EC | Avg_DO | Avg_ORP | Avg_NS_Temp | Total_Water_Use | Total_Nutrient_Use | Total_Acid_Use | Total_Base_Use | Evaporation_Loss

## Germination
* GERMINATION
Germination identifier | Experiment identifier | Date when seeds were first germinated (Exposed to water) | Number of days seeds were in germination conditions | Daily Light Integral | Light intensity for seed germination | Average Air Temperature | Electrical Conductivity | pH | Salinity Concentration Treatment | Substrate used for seed germination | Source of water used for irrigation
number | number | yyyy-mm-dd | days | mol m-2 d-1 | µmol m-2 s-1 | °C | mS/cm | number | text | text | text
ID.Germination | ID.Experiment | Seed_Date | Duration | DLI | Light_Intensity | Air_Temp | EC | pH | Salinity | Substrate | Water_Source

## IrrigationData
* Irrigation Data
Irrigation Data identifier | Experiment identifier | Irrigation Sensor system identifier | Date of reading | Time of reading | pH of nutrient solution | Electrical Conductivity of nutrient solution | Dissolved Oxygen of nutrient solution | Oxidation Reduction Potential of nutrient solution | Nutrient Solution Temperature | Total amount of Water used per NFT system | Total amount of Nutrient Concentrate used per NFT system | ON/OFF status of dosing pump | ON/OFF status of dosing pump | ON/OFF status of dosing pump | ON/OFF status of timer switch | ON/OFF status of timer switch | ON/OFF status of timer switch
number | number | number | yyyy/mm/dd | hh:mm:ss | number | mS/cm | ppm | mV | °C | L | mL | boolean | boolean | boolean | boolean | boolean | boolean
ID.IrrigationData | ID.Experiment | ID.IrrigationSensor | Date | Time | pH | EC | DO | ORP | NS_Temp | Water_Meter | Flow_Meter | Pump_1 | Pump_2 | Pump_3 | Timer_1 | Timer_2 | Timer_3

## WeatherData
* WEATHER DATA
Weather Data identifier | Experiment identifier | Weather Sensor system identifier | Date of reading | Time of reading | Air Temperature | Relative Humidify | Carbon Dioxide Concentration | Photoperiod | Daily Light Integral | Extended Photosynthetically Active Radiation | Dew Point | Vapor Pressure Deficit | Atmospheric Pressure
number | number | number | yyyy/mm/dd | hh:mm:ss | °C | % | ppm | hours | mol m-2 d-1 | µmol m-2 s-1 | °C | kPa | kPa
ID.WeatherData | ID.Experiment | ID.WeatherSensor | Date | Time | Air_Temp | RH | CO2 | PP | DLI | ePAR | DP | VPD | Atm

## CanopyData
* CANOPY DATA
Canopy Data identifier | Experiment identifier | Canopy Sensor system identifier | Date of reading | Time of reading | Air Temperature | Relative Humidify | Carbon Dioxide Concentration
number | number | number | yyyy/mm/dd | hh:mm:ss | °C | % | ppm
ID.CanopyData | ID.Experiment | ID.CanopySensor | Date | Time | Air_Temp | RH | CO2

## WaterTest
* WATER TEST
[7 empty] | mg/L | mg/L |  | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
EPA Limits | [6 empty] | Alkalinity | Aluminum | Ammonia | Antimony | Arsenic | Barium | Beryllium | Bicarbonate | Boron | Cadmium | Calcium | Cerium | Chloride | Chlorine | Chromium | Cobalt | Color | Copper | EC | E. Coli | Fluoride | Hardness | Iron | Lead | Lithium | Magnesium | Manganese | Mercury | Molybdenum | Nickel | Nitrate | Nitrite | Odor | pH | Potassium | Radon | Salinity | Sediment | Selenium | Silica | Silver | Sodium | Strontium | Sulfate | Sulfur | Suspended Solids | Tannins | TDS | Thalium | Tin | Titanium | Total Bacteria | Total Coliform | Total K/Na | Total Phosphate | Total Phosphorous | Turbidity | Uranium | Vanadium | Zinc
[7 empty] | 147.5 | 0 | 0 | 0 | 0 | 0 | 0 | - | 0.01 | 0 | 46.35 | NA | 250 | 4 | 0.1 | NA | 15 | 1.3 | None | 0 | 4 | None | 0.3 | 0.015 | NA | None | 0.05 | 0.002 | NA | 0.1 | 10 | 1 | 3 | 6.5 - 8.5 | None | NA |  | Present | 0.05 | NA | 0.1 | NA | NA | 250 |  |  | None | 500 | 0.002 | NA | NA | 500 | 0 |  |  | NA | None | 0.03 | NA | 5
Water Test identifier | Experiment identifier | Report number identifier (From testing lab) | Test Lab identifier | Source where sample was obtained from | Date when sample was collected | Time when sample was collected
text | number |  |  | text | yyyy/mm/dd | hh:mm:ss | mg/L | mg/L |  | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | C.U. | mg/L | umhos |  | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | T.O.N. |  | mg/L |  |  |  | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L |  |  |  | mg/L | mg/L | mg/L | cfu/mL |  |  |  | mg/L | N.T.U. | mg/L | mg/L | mg/L
ID.WaterTest | ID.Experiment | ID.Report | ID.TestLab | Sample_Source | Sample_Date | Sample_Time | Alkalinity | Aluminum | Ammonia | Antimony | Arsenic | Barium | Beryllium | Bicarbonate | Boron | Cadmium | Calcium | Cerium | Chloride | Chlorine | Chromium | Cobalt | Color | Copper | EC | E. Coli | Fluoride | Hardness | Iron | Lead | Lithium | Magnesium | Manganese | Mercury | Molybdenum | Nickel | Nitrate | Nitrite | Odor | pH | Potassium | Radon | Salinity | Sediment | Selenium | Silica | Silver | Sodium | Strontium | Sulfate | Sulfur | Suspended Solids | Tannins | TDS | Thalium | Tin | Titanium | Total Bacteria | Total Coliform | Total K/Na | Total Phosphate | Total Phosphorous | Turbidity | Uranium | Vanadium | Zinc
| 0 | 41324927 | ETR Laboratories | Greenhouse Well Water | 2024-04-10 | 12:45 | 147.5 | 0 | 0 | 0 | 0 | 0 | 0 | - | 0.01 | 0 | 46.35 | 0 | 8.85 | 0 | 0 | 0 | 0 | 0 | 309.5 | 0 | 0.49 | 132 | 0.03 | 0 | 0 | 3.96 | 0 | 0 | 0 | 0 | < 0.5 | 0 | Absent | 7.89 | 0.76 | 0 | - | Absent | 0 | 6.13 | 0 | 3.51 | 0.3 | 9.25 | - | - | 0 | 185.7 | 0 | 0 | 0 | >1600 | 0 | - | - | 0 | <0.2 | 0 | 0 | 0.02

## Greenhouse
* GREENHOUSE
Greenhouse identifier | Country where located | State where located | City where located | Global Positioning System Coordinates | Cooling system used for environmental control | Description of greenhouse (Structure, Panels, etc.)
number | text | text | text | text | text | text
ID.Greenhouse | Country | State | City | GPS | Cooling_System | Description

## WeatherSensor
* WEATHER SENSOR
Weather Sensor identifier | Name of sensor system | Air Temperature Sensor identifier | Relative Humidity Sensor identifier | CO2 Sensor identifier | Atmospheric Pressure Sensor identifier | Extended Photosynthetically active Radiation sensor identifier
number | text | text | text | text | text | text
ID.WeatherSensor | System_Name | ID.Sensor | ID.Sensor | ID.Sensor | ID.Sensor | ID.Sensor

## CanopySensor
* CANOPY SENSOR
Canopy Sensor identifier | Name of sensor system | Air Temperature Sensor identifier | Relative Humidity Sensor identifier | CO2 Sensor identifier
number | text | text | text | text
ID.CanopySensor | System_Name | ID.Sensor | ID.Sensor | ID.Sensor

## IrrigationSensor
* IRRIGATION SENSOR
Irrigation Sensor identifier | Name of sensor system | Nutrient Solution Temperature sensor identifier | pH sensor identifier | Electrical Conductivity sensor identifier | Dissolved Oxygen sensor identifier | Oxidation Reduction Potential sensor identifier | Water Meter sensor identifier | Flow Meter sensor identifier | Dosing Pump 1 identifier | Dosing Pump 2 identifier | Dosing Pump 3 identifier | Timer Switch 1 identifier | Timer Switch 2 identifier | Timer Switch 3 identifier
number | text | text | text | text | text | text | text | text | text | text | text | text | text | text
ID.IrrigationSensor | System_Name | ID.Sensor | ID.Sensor | ID.Sensor | ID.Sensor | ID.Sensor | ID.Sensor | ID.Sensor | ID.Sensor | ID.Sensor | ID.Sensor | ID.Sensor | ID.Sensor | ID.Sensor

## TestLab
* TEST LAB
Test Lab identifier | Type of water test performed | Name of testing lab where water sample was tested | Cost of water sample analysis
text | text | text | number
ID.TestLab | Test_Type | Testing_Lab | Cost

## Sensor
* SENSOR
Sensor identifier | Manufacturer identifier | Name of sensor | Type of sensor | Date when sensor was calibrated | Type of sensor calibration performed | Number of sensor model | Date when sensor was purchased
number | number | text | text | yyyy-mm-dd | text | text | yyyy-mm-dd
ID.Sensor | ID.Manufacturer | Name | Sensor_Type | Calibration_Date | Calibration_Type | Model_Number | Purchase_Date

## Manufacturer
* MANUFACTURER
Manufacturer identifier | Name of Manufacturer Company | Country where located | State where located | City where located
number | text | text | text | text
ID.Manufacturer | Name | Country | State | City